Isolation of cyclotron produced gallium by thermal diffusion and its use in preparation of Ga-PSMA11.

Jonathan Siikanen1, Serge K. Lyashchenko2,3, Eva Burnazi1, Ryan Kerslake1, Alejandro Amor-Coarasa4, Naga Vara Kishore Pillarsetty2, and Jason S. Lewis 1,2

1Karolinska Universitetssjukhuset, Stockholm, Sweden.

2Radiochemistry and Molecular Imaging Probe Core Facility, Memorial Sloan Kettering Cancer Center, New York, New York.

3Department of Radiology, Memorial Sloan Kettering Cancer Center, New York, New York.

4Department of Radiology, Weil Cornell Medical College, Cornell University, New York, New York.

Objectives(s) Potential global SPECT radionuclide shortages, combined with the advent of clinically relevant ligands targeting neuroendocrine and prostate cancer tumors have sparked great interest in Ga-68-based radiopharmaceutical development and manufacture.  This global interest, in turn, has created a situation where the demand for this radionuclide outweighs the available supply.  The limited generator availability and limited activity output of Ge-68/Ga-68 generators have provided the impetus for development of alternative gallium production routes such as proton activation of zinc. Both liquid and solid targets have been demonstrated to work for 68ga production, however only the latter technology provides capability of making Curie quantities of the radionuclide.  Additionally, the complete dissolution of the irradiated solid targets for the purpose of isolating the gallium presents several challenges such lack of yield reproducibility as well as variability in residual metal species which may affect subsequent radiolabeling incorporation. These issues significantly impede the translation of this methodology into clinical practice. Here, we report on the alternative method of cyclotron production of gallium by thermal diffusion and subsequent use in radiolabeling of PSMA-11.

Methods. Zinc-66 foils (0.1x18x46 mm3) were bombarded with 13 MeV protons using an EBCO (TR19/9) cyclotron. After bombardment, the foils were placed in a tube furnace (under argon flow) and heated for 15 min close to the melting point of zinc to diffuse and accumulate gallium to the foil-surface. This gallium was then etched of with 5 ml, 0.1 N HCL into a liquid phase which was then used to label gallium to PSMA-11. 66Ga-PSMA-11 was prepared  by mixing the gallium with 10micrograms of PSMA-11, dissolved in pH 4.2 sodium acetate tri-hydrate buffer, followed by C-18 Sep Pak purification

Results Using the described methodology, approximately  30-40 % of the gallium present in the irradiated foils is collected in the liquid phase.  Observed PSMA radionuclide incorporation is 60 % prior to purification and 100 % radiochemical purity was achieved when  C-18 purification was applied.

Conclusion. Proton activation of zinc foils followed by isolation by thermal diffusion makes it possible to reliably produce curie-quantities of pure Ga-68 for subsequent radiopharmaceutical preparations.  The process of thermal diffusion allows for potential re-use of target foil material, saving costs. An  identical process will be applied  to producing Ga-68 using zinc-68 foils once the license to produce Ga-68 will be granted.

Research Support.

The MSKCC Radiochemistry & Molecular Imaging Probe Core, supported in part by NIH Cancer Center Support Grant P30CA008748-48.